## Slide 1
ADVANCEMENT OF GAS INSULATED TECHNOLOGY (GIS) AND ITS INTEGRATION WITH PROTECTION COORDINATION FOR ENHANCEMENT, RELIABILITY OF POWER SYSTEM NETWORK

## Slide 2
INTRODUCTION
The growing complexity of contemporary power systems, along with the increased international demand for consistent and high-grade electricity, has made it obligatory to upgrade technology in power distribution and transmission networks.
Gas Insulated Switchgear (GIS) has become the revolutionary answer that solves some fundamental issues like reduced space availability, environmental factors, and system efficiency.
In contrast to Air-Insulated Switchgear (AIS), which necessitates big clearances between phases and equipment, GIS employs small, enclosed gas-filled compartments that offer better insulation and protection from external contaminants like dust, moisture, and pollution.
This leads to greater operating efficiency, less maintenance requirements, and longer system life. In addition, GIS reduces the risk of electrical faults and arc flash events to a minimum, providing a safer working environment for staff and a more robust power infrastructure.
These features make GIS especially ideal for urban substations, offshore wind farms, underground installations, and locations with harsh climatic conditions, where reliability and space efficiency are critical.

## Slide 3
LITERATURE REVIEW
James (2022) carried out a thorough research into transient and safety phenomena in Gas Insulated Systems (GIS), focusing on the substantive challenges presented by insulation failure, switching transient, and system weakness. The research pointed out that transient phenomenon, like voltage surge, very fast transient overvoltage's (VFTO's), and electromagnetic interferences, significantly affect GIS performance, resulting in possible equipment degradation, insulation failure, and operational inefficiencies.
Li et al. (2022) analyzed China's development in DC gas-insulated equipment for the last decade, providing an insight into the shift from fundamental studies to large industrial applications. Their findings indicated significant improvements in internal GIS technology, especially in high-performance insulating materials development, improved fault detection functionality, enhanced overall efficiency of operation, and so forth.
Khan et al. (2019) carried out a detailed survey of partial discharge (PD) detection and diagnosis in Gas Insulated Systems (GIS), considering it as a key parameter to evaluate system health and avoid unexpected failures. The research pointed out those partial discharges, frequently due to insulation faults, contamination, or mechanical stress, may progressively degrade GIS components, causing serious breakdowns if not detect.

## Slide 4
RESEARCH METHODOLOGY
This research employs quantitative comparative design in evaluating the effects of Gas Insulated Switchgear (GIS) on power system reliability through analyzing fault and outage reductions. Outage and fault reductions were assessed through data drawn from historical reports, operational documentation, and fault logs, then analyzed through percentage-based comparisons using graphical interpretations.
1. Research Design
This research utilizes quantitative research design with comparative strategy to assess the contribution of Gas Insulated Switchgear (GIS) to power system reliability. Power outage rates and faults experienced prior to and after GIS installation are compared in the study. Descriptive and analytical strategy is applied to explain the decrease in outages and faults, noting GIS's contribution towards improved system stability.
2. Data Collection
Information was gathered from fault logs, operational reports, and history from power utilities that had switched from Air-Insulated Switchgear (AIS) to GIS. Primary data was collected from substation performance reports, and secondary data were collected from technical studies and industry reports.

## Slide 5
Outage Type | Before GIS (%) | After GIS (%) | Reduction (%)
Transmission Line Outages | 25% | 12% | 52%
Substation Equipment Failures | 30% | 14% | 53%
Protection Failures | 20% | 8% | 60%
Other Causes | 25% | 10% | 60%
      DATA ANALYSIS AND INTERPRETATION
Chart: 
| Transmission Line Outages | Substation Equipment Failures | Protection Failures | Other Causes
Before GIS (%) | 0.25 | 0.3 | 0.2 | 0.25
After GIS (%) | 0.12 | 0.14 | 0.08 | 0.1
Reduction (%) | 0.52 | 0.53 | 0.6 | 0.6
Table 1: Reduction in Power Outages with GIS
Figure 1: Graphical representation of Reduction in Power Outages with GIS
Table 1 displays the decrease in power outages following the adoption of Gas Insulated Switchgear (GIS) technology. Outages on the transmission lines decreased from 25% to 12% (52% decline), and substation equipment faults declined from 30% to 14% (53% decline) as a result of enhanced insulation and space-saving design. Protection failures experienced the greatest decline of 60% (from 20% to 8%), indicating enhanced fault detection. Other outage causes also decreased by 60% (from 25% to 10%), which reflects improved grid reliability. Generally, GIS substantially minimizes failures, enhancing power system stability and efficiency.
Figure 1 graphically depicts the dramatic reduction in power outages following GIS installation. The graph indicates significant decreases in protection failures and other reasons (60%), then substation and transmission failures. The steep decline in outage percentages verifies GIS's efficacy in improving fault tolerance, minimizing operational risks, and maintaining stable power supply. The statistics attest to GIS as a better option compared to Air-Insulated Switchgear (AIS), with improved insulation, reliability, and lower maintenance requirements.

## Slide 6
CONCLUSION
The use of Gas Insulated Switchgear (GIS) has been shown to register a significant leap in the quality and efficiency of power system networks.
The difference in power failure and fault episodes prior to, and subsequent to, GIS use indicates its positive impact on curbing failures, improving fault detecting capabilities, as well as promoting insulation performance.
The substantial decrease in transmission line faults, substation equipment failure, protection failures, and other reasons certifies GIS as a better option compared to Air-Insulated Switchgear (AIS).
Moreover, the drastic reduction in short-circuit faults, insulation faults, relay faults, and equipment overload faults further emphasizes GIS's use in enhancing the grid stability and minimizing operating risks.
By combining GIS with sophisticated protection coordination schemes, utilities can attain improved fault isolation, adaptive relay configuration, and predictive maintenance, leading to a more robust and future-proof power infrastructure.
Therefore, GIS technology is a critical enabler in the modernization of power networks, facilitating the shift towards smarter, safer, and more efficient electricity distribution systems.

## Slide 7
REFERENCES
Al-Shetwi, A. Q., Hannan, M. A., Al-Masri, H. M., &Sujod, M. Z. (2024). Latest advancements in smart grid technologies and their transformative role in shaping the power systems of tomorrow: An overview. Progress in Energy.
Bagchi, S., & Rastogi, R. K. (2018, April). A holistic approach to develop a robust distribution network with integrated protection and automation management system for a next generation electric utility. In 2018 International Conference on Power Energy, Environment and Intelligent Control (PEEIC) (pp. 473-481). IEEE.
Bhanu, C. V. K. Optimizing Performance and Overvoltage Resilience in 765 Kv Gas Insulated Substations: A Multi-Faceted Insulation Coordination Analysis.
Dwivedi, D., Mitikiri, S. B., Babu, K. V. S. M., Yemula, P. K., Srininvas, V. L., Chakraborty, P., & Pal, M. (2023). Advancements in enhancing resilience of electrical distribution systems: A review on frameworks, metrics, and technological innovations. arXiv preprint arXiv:2311.07050.
Elsisi, M., Tran, M. Q., Mahmoud, K., Mansour, D. E. A., Lehtonen, M., & Darwish, M. M. (2021). Towards secured online monitoring for digitalized GIS against cyber-attacks based on IoT and machine learning. Ieee Access, 9, 78415-78427.